## Slide 1
A3 – Electronics I
Solderless breadboard

## Slide 2
Automotive Electronic Control Unit (ECU)

## Slide 3
Avionics

## Slide 4
Transducer
Converts one physical stimulus to another.
LENGTH
TEMPERATURE
Example: Alcohol thermometer

## Slide 5
Manometer
Measures pressure

## Slide 7
Sensitivity
Inclined Manometer
More sensitive
Less range
http://www.dwyer-inst.com
U-tube Manometer
Less sensitive
Greater range

## Slide 8
Rotameter
Measures flow rate.
Viscous drag causes a bead to levitate at a certain height.
Omega.com

## Slide 9
Electronic Transducers

## Slide 10
A4 - Capacitive Pressure Transducer
Pressure pushes capacitor plates closer together
h
Electrical capacitance:
www.mathworks.com
h
Spring mass system
Hook’s law
Pressure

## Slide 11
A4 - Calibration
The resistivity of a metal changes linearly with temperature.
RTD – Resistance Temperature Detector

## Slide 12
A4 – Sensor Calibration
Extech Handheld DMM
Keysight Precision DMM