## Slide 1: AME20216 - Lab I L3 - Transducers

## Slide 2: Stay engaged. Take notes in lecture.

## Slide 3
A1 – Meter Stick Measurements
cm
L = 9.4 ± 0.5 cm
The meter stick is one of the most basic scientific instruments.

## Slide 4
Transducer
Converts one physical stimulus to another.
LENGTH
TEMPERATURE
Example: Alcohol thermometer

## Slide 5
U-tube Manometer
Transducer converts pressure to length.
LENGTH
PRESSURE

## Slide 7
Definitions
Gauge pressure – pressure relative to surrounding air
Absolute pressure – pressure relative to a complete vacuum
Sensitivity – (Change in legnth) / (Change in pressure)
Range – max value an instrument can measure

## Slide 8
Sensitivity
Inclined Manometer
More sensitive
Less range
http://www.dwyer-inst.com
U-tube Manometer
Less sensitive
Greater range

## Slide 9
Pitot Static Probe
Pitot probe converts airspeed to pressure.
Manometer converts pressure to length.
PRESSURE
AIRSPEED
LENGTH
u = “airspeed”
p1 = “stagnation pressure”
p2 = “static pressure”
Bernoulli:

## Slide 10
Rotameter
Measures flow rate.
Viscous drag causes a bead to levitate at a certain height.
Omega.com

## Slide 11
Electronic Transducers

## Slide 12
Electronics
Extech Handheld DMM
Keysight Precision DMM

## Slide 13
A3 – Electronics I
Solderless breadboard