## Slide 1
Quadrature Encoders
A Quadrature encoder counts electrical pulses as slotted wheel passes through a photocell.
Measures angular position and speed.

## Slide 2
Orientation
Mechanical parts can rotate to various angles.
Robot football

## Slide 3
MEMS Accelerometers
3-axis gyro from an iPhone 4
Micro-Electro-Mechanical Systems (MEMS)
Acceleration causes mass to push on spring and displace the “interdigitated” electrodes,
changes electric capacitance.

## Slide 4
Accelerometers
Boeing 777 glass cockpit.

## Slide 5
Lab1 Accelerometer Calibration
2-point calibration
ACC
θ
y
g
At θ = 0o, ay = 0, VOUT = V0
At θ = 90o, ay = g, VOUT = V90

## Slide 6
Transient Response of Sensors
1st order response:
Thermocouple, RTD, Thermistor
www.mathworks.com
h
2nd order response:
MEMS accelerometer, capacitive pressure sensor, piezoelectric transducers, microphones

## Slide 7
1st Order Response
Thermocouple (TC)
“1st order response”
Response to an “impulse”

## Slide 8
Transient Response of Sensors
Engine Speed ~ 3000 RPM  T ~ 0.02 s << τ ~ 1s

## Slide 9
Driven 1st Order Response
Thermocouple (TC)
“1st order response”
“Driven” response

## Slide 10
2nd Order Response
h
www.mathworks.com
h
Spring mass system
Hook’s law
Accelerometer
Pressure
HAVE A TENDENCY TO OSCILLATE!
Capacitive and Piezoelectric Sensors

## Slide 11
2nd Order Response
ω/ω0
Damping ratio
ζ < 1 underdamped …ringing!
ζ = 1 critically damped …just right!
ζ > 1 overdamped …slow response!
2 important parameters: resonance frequency ω0 and damping ratio ζ
Response to an impulse
Driven response, amplitude vs. freq.

## Slide 12
2nd Order Response of Sensors
Response behavior of sensors depends on damping ratio ζ
ζ < 1 Underdamped
…Ringing! Bad for sensors!
ζ > 1 Overdamped
…Slow response! Bad for sensors!
ζ = 1 Critically damped
…Just right!
Fastest response without ringing!

## Slide 13
Single pendulum: Predictable motion
Behaves as a damped harmonic oscillator.

## Slide 14
Double pendulum: Chaotic motion
Motion in unpredictable and impossible to repeat.

## Slide 15
Chaos!
Complex systems are extremely sensitive to initial conditions.

## Slide 16
Clockwork vs. Chaos!
Thinkers of yore believed the universe behaved as “Clockwork”
Modern thinkers have embraced the unpredictability of things.

## Slide 17
Complex Systems: Turbulence
Fluid flows often exhibit unpredictable motion known as turbulence.

## Slide 18
Mechanical Control
Understanding and controlling complex mechanic systems is hard!

## Slide 19
Probability and Statistics