## Slide 1: AME20216 - Lab I L5 – Analog Sensors

## Slide 2
Transducer
Voltage
Pressure
Length
Pressure
Converts a physical stimulus to a length or voltage
Manometer
Analog Pressure Sensor
Analog sensor – outputs a voltage

## Slide 3
Automotive Electronic Control Unit (ECU)

## Slide 4
Avionics

## Slide 5
Cadmium Sulfide (CdS) Photocell
Resistance of Photocell changes when illuminated.
Resistance
Light Intensity
Voltage

## Slide 6
RTD – Resistance Temperature Detector
The resistivity of a metal changes linearly with temperature.
Lab1: Voltage divider circuit

## Slide 7
Thermistor
Works the same as an RTD, except the sensing material is made of a ceramic or a semiconductor.
Non-linear response

## Slide 8
Thermistor
Thermistor in a Voltage divider
Steinhart Equation
Voltage Divider Equation
Resistance
Temperature
Voltage

## Slide 9
Analog Temperature Sensor
There is a “one-to-one” mapping between temperature and voltage.

## Slide 10
Thermistor
Resistance
Temperature
Voltage
Measure Vout with the
Keysight Precision DMM

## Slide 11
2-point Calibration
Determine the coefficients A and B
BOILING WATER
T = 373K
ICE BATH
T = 273K