## Slide 1
Manometer
Measures pressure

## Slide 2
Sensitivity
Inclined Manometer
More sensitive
Less range
http://www.dwyer-inst.com
U-tube Manometer
Less sensitive
Greater range

## Slide 3
Capacitive Sensors
h
www.mathworks.com
h
Spring mass system
Hook’s law
Accelerometer
Pressure

## Slide 4
Capacitive Pressure Transducer
Pressure pushes capacitor plates closer together
Capacitance-to-voltage IC chip
Capacitive presssure sensor
VOUT
COUT

## Slide 5
Pitot Static Probe
Measures fluid velocity u using Bernoulli’s law

## Slide 6
Calibration